## Sheet1
Cost of Champaign land per acre: $3057 | Source: http://www.farmdoc.uiuc.edu/manage/newsletters/fefo07_05/fefo07_05.html
3057
Wind Turbine: GE 1.5 MW, rotor diameter of 77m
Assuming a set up of 4D x 7D dimensions
Number of turbines | Amount of Acres Needed | Cost of Land
1 | 41.02 | 125398.14
2 | 82.04 | 250796.28
3 | 123.06 | 376194.42
4 | 164.08 | 501592.56
5 | 205.1 | 626990.7
6 | 246.12 | 752388.84
7 | 287.14 | 877786.98
8 | 328.16 | 1003185.12
9 | 369.18 | 1128583.26
10 | 410.2 | 1253981.4
11 | 451.22 | 1379379.54
12 | 492.24 | 1504777.68
13 | 533.26 | 1630175.82
14 | 574.28 | 1755573.96
15 | 615.3 | 1880972.1
Assume total installed cost of a wind turbine is $1.5 million. 20-year, 6% loan.
Assume O&M costs are 1% of capital cost.
1 acre = 4046.85 m^2
Assuming 4D x 7D |  | CRF = .087/yr
Amount of Land: 4*7*(77^2) = 166012 m^2
Acres per turbine: 166012/4046.85 = 41.02 Acres
| Capacity Factor = .087*6.4m/s - (1500/77^2) |  | Source: Renewable and Efficient Electric Power Systems
Example case to find payment per acre | CF = .303
Assume average speed of 6.4 m/s
8760h/yr*Rated Power * Capacity Factor
Number of turbines | Annual Energy Delivered (kWh/yr) | Annual Payment | O&M Costs | Annual Costs | Cost of Electricity | Royalty Payment to farmers per year | Payment per Acre per Year
1 | 3981420 | 130500 | 15000 | 145500 | 0.036545 | 3981.42 | 97.0605
2 | 7962840 | 261000 | 30000 | 291000 | 0.036545 | 7962.84 | 97.0605
3 | 11944260 | 391500 | 45000 | 436500 | 0.036545 | 11944.26 | 97.0605
4 | 15925680 | 522000 | 60000 | 582000 | 0.036545 | 15925.68 | 97.0605
5 | 19907100 | 652500 | 75000 | 727500 | 0.036545 | 19907.1 | 97.0605
6 | 23888520 | 783000 | 90000 | 873000 | 0.036545 | 23888.52 | 97.0605
7 | 27869940 | 913500 | 105000 | 1018500 | 0.036545 | 27869.94 | 97.0605
8 | 31851360 | 1044000 | 120000 | 1164000 | 0.036545 | 31851.36 | 97.0605
9 | 35832780 | 1174500 | 135000 | 1309500 | 0.036545 | 35832.78 | 97.0605
10 | 39814200 | 1305000 | 150000 | 1455000 | 0.036545 | 39814.2 | 97.0605
11 | 43795620 | 1435500 | 165000 | 1600500 | 0.036545 | 43795.62 | 97.0605
12 | 47777040 | 1566000 | 180000 | 1746000 | 0.036545 | 47777.04 | 97.0605
13 | 51758460 | 1696500 | 195000 | 1891500 | 0.036545 | 51758.46 | 97.0605
14 | 55739880 | 1827000 | 210000 | 2037000 | 0.036545 | 55739.88 | 97.0605
15 | 59721300 | 1957500 | 225000 | 2182500 | 0.036545 | 59721.3 | 97.0605